Repair / Replace Urinal Flushometer (constantly running} Bldg 358.  The Men's room only has one urinal and one toilet bowl in that facility.

After replacement of diagram in Sloan flushometer there was a stoppage in urinal pulled out a load of pubic hair and the strainer support plate was rotted.

Proposal to:

Replacement of the urinal, this urinal endures high volume of use since this is the only urinal in this bathroom.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair / Replace Urinal Flushometer |  |  |  |  |  |  |  |  |
| CSS #90137 - CMI #19383 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.11.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 125.00 | 8 |  |  |  |  |  | $ 1,000.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 843.57 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,843.57 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 400.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,243.57 |