Bldg 356 2nd Floor men's room
1. Repair leaking urinal
2.  Repair leaking flushometer   ( same room )
3. 2nd floor female restroom repair leaking flushometer (2nd stall)

Proposal to:

Disconnect flushometer off of urinal and remove entire fixture remove worn gasket and replace with new re-install flushometer and re-seal urinal and re-hang with new supporting anchor bolts. Install a new diaphram on the 2nd floor women’s restroom, 2nd stall.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| 356 2nd Floor men's room 1 |  |  |  |  |  |  |  |  |
| CSS #90382 - CMI #19742 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.17.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 8 |  |  |  |  |  | $ 800.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 99.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 899.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 incurred |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 899.00 |