Building 358 Female Restroom Replace leaking faucet (closest to the stall)

Proposal to:

Remove damaged and leaking faucet and replace with new commercial grade Moen faucet also remove existing water supply tubes and replace with new. Will replace P.O. Plug from bottom of sink if it is needed at no additional charge will be part of this proposal quote.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Building 358 Female Restroom |  |  |  |  |  |  |  |  |
| CSS #90847 - CMI #20188 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.21.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 4 |  |  |  |  |  | $ 400.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 208.96 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 608.96 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred costs |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 608.96 |