Building 208 first floor male restroom
Repair the leaking urinal.  water runs out from behind the urinal when it is flushed.

Proposal to:

Found urinal leaking from bottom seal, disconnect flush-ometer from urinal remove anchoring nuts and silicone seal from urinal and completely re-move urinal, Install; new wax type gasket and re-assemble.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Building 208 first floor male restroom |  |  |  |  |  |  |  |  |
| CSS #90965 - CMI #20206 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.02.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 8 |  |  |  |  |  | $ 800.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 49.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 849.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 incurred |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 849.00 |