Building 358 GYM area. Check for leak and replace ceiling tiles ( 4 Tiles).

Proposal to:

- Repair water damage that comes from AC units and AC piping above ceiling

- Provide and install insulated foam on AC unit cooler.

- Insulate AC gas tubing above ceiling

- Provide and replace damaged ceiling tiles.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Building 358 GYM area |  |  |  |  |  |  |  |  |
| CSS #91738 - CMI #21053 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.25.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 8 |  |  |  |  |  | $ 680.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 645.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,325.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred costs |  |  |  |  |  |  |  | $ 150.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,475.00 |