Bldg 208 Room 102 4 lighting fixtures (all in a row over cubical) are non-functional

Proposal to:

- Replace 4  2x4 ft. light fixtures.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Bldg 208 Room 102 4 lighting |  |  |  |  |  |  |  |  |
| CSS #93234 - CMI #22118 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.26.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 8 |  |  |  |  |  | $ 680.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 700.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,380.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 incurred |  |  |  |  |  |  |  | $ 100.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,480.00 |