Building 356 Trouble shoot and repair Roof / wall leak
There is a rain water ceiling leak in the corridor leading  to the mechanical room.

Proposal to:

- Seal AC room corners above.

- Seal wall outside.

- Replace ceiling tiles.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Building 356 Trouble shoot and repair |  |  |  |  |  |  |  |  |
| CSS #93367 - CMI #22137 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 05.08.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 16 |  |  |  |  |  | $ 1,360.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 255.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,615.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 150.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,765.00 |