Water regulator is stuck close and will not let water to the boilers, needs to be replaced.

Proposal to:

Labor and materials to replace nonfunctioning reducing valve.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY039 |  |  |  |  |  |  |  |  |
| Water regulator is stuck close |  |  |  |  |  |  |  |  |
| CSS #28880 - CMI #11904 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.05.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 4 |  |  |  |  |  | $ 320.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 390.34 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 710.34 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 80.00 | 2 |  |  |  |  |  | $ 160.00 |
| Grand Total |  |  |  |  |  |  |  | $ 870.34 |