| Additional Funding Request |  |
| --- | --- |
| NY050 | CSS #11681 WO 3144 ASSET #10032 |
| Description of Repairs | Install overhead door operator assembly. Re-attach lead link to door frame Lubricate tracks with silicone. |
| Diagnosis: Initial Work Order | Roll door in kitchen not working does not go up or down |
| Explanation of Additional Costs for Repairs | N/A |
| Additional Labor Cost to Perform Repairs | $ 720.00(6mh @120.00/mh) |
| Additional Material Cost to Perform Repairs | $719.76 |
| Shipping | N/A |
| Total Cost of Repair | $1439.75 |