Male latrine has a sink that is not working (Asset # 10002 Lavatory, Countertop - 5), motion sensor does not seem to function. Also, all three bathroom stalls have had the toilet-paper dispensers removed and need to have replacements installed.

Women’s Latrine

- • Install two (2) 34’ chrome towel bars

- • Install three (3) double toilet paper holders

Men’s Latrine

- • Replace power pack for Zurn Z6900 automatic faucet

- • Install one (1) 24” chrome towel bar

- • Install two (2) double toilet paper holders

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY050 |  |  |  |  |  |  |  |  |
| Male latrine has a sink that is not working |  |  |  |  |  |  |  |  |
| CSS #21837 - CMI # 5665 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.11.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 156.00 | 5 |  |  |  |  |  | $ 780.00 |
| 1.2 Faucet power supply |  |  |  |  | $ - | $ - | $ - | $ 120.00 |
| 1.3 Towel bar |  |  |  |  |  |  |  | $90.00 |
| 1.4 toilet paper holder |  |  |  |  |  |  |  | $ 287.50 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,277.50 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 156.00 | 2 |  |  |  |  |  | $ 312.00 |
| 2.2 Truck Charge |  |  |  |  |  |  |  | $ 156.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,745.50 |