One of the two boilers in the training Facility mechanical room is leaking from the pressure valve (Asset# 9970 Boiler). The second boiler (Asset# 9969 Boiler) needs to be inspected to avoid the same issue. Both boilers were installed at the same time. Both Boilers are WEIL-McClain MODEL 80 SERIES 1 BOILER Model number 680.

Weil Mclain Series 80 Boilers.

Replace pressure relief valve for Boiler #1 & 2.

Verify correct operation.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY050 |  |  |  |  |  |  |  |  |
| One of the two boilers in the training |  |  |  |  |  |  |  |  |
| CSS #21758 - CMI # 5737 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.24.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 156.00 | 4 |  |  |  |  |  | $ 624.00 |
| 1.2 relief Valves |  |  |  |  | $ - | $ - | $ - | $ 360.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 984.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 156.00 | 2 |  |  |  |  |  | $ 312.00 |
| 2.2 Truck Charge |  |  |  |  |  |  |  | $ 156.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,452.00 |