While tech was on site for another call he was asked to - look at the ductless split in the electrical room.

Proposal to:

Server Room - Mitsubishi Ductless Split system

- Remove failed wireless receiver

- Install new OEM wireless receiver

- Provide/Install new remote control

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY050 |  |  |  |  |  |  |  |  |
| look at the ductless split |  |  |  |  |  |  |  |  |
| CSS #32370 - CMI #14854 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.07.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 163.00 | 4 |  |  |  |  |  | $ 652.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 200.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 852.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 570.50 | 1 |  |  |  |  |  | $ 570.50 |
| Grand Total |  |  |  |  |  |  |  | $ 1,422.50 |