OVERHEAD GAS HEATERS ON OMS MAIN SHOP FLOOR NOT WORKING.  BELOW FREEZING TEMPERATURES ARE OCCURING OVERNIGHT AT THIS LOCATION.

Our proposal is based on the following:

1. Pick up parts.

2. Replace inducer assembly and proving switch.

3. Test operation.

Our proposal excludes the following:

1. Parts or materials not herein listed.

2. Labor to replace parts or materials not here in listed.

3. Permits or fees.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY050 |  |  |  |  |  |  |  |  |
| OVERHEAD GAS HEATERS ON OMS |  |  |  |  |  |  |  |  |
| CSS #33639 - CMI #15587 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.15.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 4 |  |  |  |  |  | $ 600.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 649.00 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 50.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,299.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,299.00 |