Repair Hand washing Station in OMS Building. Water runs constantly.  Currently have the water shut off at the main.

Proposal to:

- Remove existing electrical valve assembly and accessories

- Remove pipes and connectors

- Provide and install new 4 station valve assembly

- Connect all piping system.

- Test the system

Note: this part will take 3-4 weeks to be delivered

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY050 |  |  |  |  |  |  |  |  |
| Repair Hand washing Station in OMS |  |  |  |  |  |  |  |  |
| CSS #34637 - CMI #16626 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 03.16.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 16 |  |  |  |  |  | $ 1,360.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 855.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,215.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 200.00 | 1 |  |  |  |  |  | $ 200.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,415.00 |