Repair lights in men's room

Lights in men’s room will not come on. Checked circuit breaker, assumption is the motion sensor is faulty.

Proposal to:

Remove and bypass four Occupancy Sensors in the main office and men's bathroom as existing Occupancy Sensors are malfunctioning.

*MLS found 4 bad sensors; sensors hit with a power surge. Will submit a proposal to replace the sensors/bypass sensors. Could be a larger issue*

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY050 |  |  |  |  |  |  |  |  |
| Repair lights in men's room |  |  |  |  |  |  |  |  |
| CSS #90744 - CMI #19785 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.28.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 135.00 | 10 |  |  |  |  |  | $ 1,350.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 200.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,550.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred costs |  |  |  |  |  |  |  | $ 450.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,000.00 |