Repair lights in men's room

Lights in men’s room will not come on. Checked circuit breaker, assumption is the motion sensor is faulty.

Proposal to:

Remove and replace with new four RAB Occupancy Sensors in the main office and men's bathroom. Existing Occupancy Sensors malfunctioning. As per the Surge Protection Monitoring Equipment 46 power surges were detected at the center and could possibly be causing the Occupancy Sensors to be damaged. Due to these power surges, the new Occupancy Sensors cannot be warranted.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY050 |  |  |  |  |  |  |  |  |
| Repair lights in men's room |  |  |  |  |  |  |  |  |
| CSS #90744 - CMI #19785 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.28.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 135.00 | 10 |  |  |  |  |  | $ 1,350.00 |
| 1.2 Materials |  |  |  |  | $ - | $ - | $ - | $ 700.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,050.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred cost |  |  |  |  |  |  |  | $ 450.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,500.00 |