| Additional Funding Request |  |
| --- | --- |
| NY054 | CSS #19293 WO4099 ASSET #10082 |
| Description of Repairs | Check FOR LEAK ON SMALL FAN COIL IN GYM |
| Diagnosis: Initial Work Order | Found leak from union |
| Explanation of Additional Costs for Repairs | N/A |
| Additional Labor Cost to Perform Repairs | $ 660.00 ( 6mh@$110.00/MH) |
| Additional Material Cost to Perform Repairs | $36.00 Lift $207.36 |
| Shipping | N/A |
| Total Cost of Repair | $903.36 |