Light on end of building stays on all the time.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY054 |  |  |  |  |  |  |  |  |
| light on end of building stays on |  |  |  |  |  |  |  |  |
| CSS #19728 - CMI #14387 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.12.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 8 |  |  |  |  |  | $ 680.00 |
| 1.2 Materials |  |  |  |  | $ - | $ - | $ - | $ 120.00 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 400.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,200.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ 250.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,450.00 |

Proposal to:

- Replace fotoelectric switch for light on roof.

- Fix damaged 2” conduit.

- Fix rubber gusket, seal the roof.

- Test the light.

** This work has already been completed**