AC split unit not working

Proposal to:

We were called because the AC on the split unit was not working. Our technician found the unit low on

charge with a leak in the discharge line. This unit needs to be leak checked, repaired, and recharged.

This pricing includes time spent on site, labor, and materials to perform this work.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY054 |  |  |  |  |  |  |  |  |
| AC split unit not working |  |  |  |  |  |  |  |  |
| CSS #25561 - CMI #9327 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 7.07.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $110.00 | 5 |  |  |  |  |  | $550.00 |
| 1.2 Materials |  |  |  |  | $- | $- | $- | $285.13 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $835.13 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $435.69 | 1 |  |  |  |  |  | $435.69 |
| Grand Total |  |  |  |  |  |  |  | $1,270.82 |