REPAIR 6 EMERGENCY LIGHTS NOT WORKING IN KITCHEN DRILL HALL AREAS. 
Note: this was found when a PM was being done on site

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY054 |  |  |  |  |  |  |  |  |
| REPAIR 6 EMERGENCY LIGHTS NOT WORKING |  |  |  |  |  |  |  |  |
| CSS #28918 - CMI #13369 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.14.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 110.00 | 6 |  |  |  |  |  | $ 660.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,117.60 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 12.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,789.60 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,789.60 |

Proposal to:

Replace 4 Emergency lights.

We were asked to check the emergency lights. Our technician made the following.

notes:

06/10/2021 pw

Checked in with Sgt Griffin. Inspected 6 emergency lights, found 2 to be good and 4 to be bad.

The pricing shown below covers labor and materials and required to do this work.