EMERGENCY LIGHT IN SUPPLY BUILDING BUZZING

The pricing shown below covers labor and materials required to replace the emergency light in the supply building, as well as time spent.

-report of emergency light buzzing, inspected and found transformer to be bad. New emergency light needed.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY054 |  |  |  |  |  |  |  |  |
| EMERGENCY LIGHT IN SUPPLY BUILDING BUZZING |  |  |  |  |  |  |  |  |
| CSS #30081 - CMI #12844 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 4.20.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 110.00 | 2 |  |  |  |  |  | $ 220.00 |
| 1.2 Emergency light |  |  |  |  | $ - | $ - | $ - | $ 327.28 |
| 1.3 Misc |  |  |  |  | $ - | $ - | $ - | $ 62.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 609.28 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 110.00 | 1 |  |  |  |  |  | $ 110.00 |
| Grand Total |  |  |  |  |  |  |  | $ 719.28 |