Repair Ice Maker. Level Icemaker and install new plumbing connections.

Proposal to:

Reposition the ice machine and add a condensate pump.

Ice machine is currently setting on top of 8 concrete blocks. Tech to remove from blocks and level the ice machine. Once it is level, he will re-pipe and add a condensate pump.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY054 |  |  |  |  |  |  |  |  |
| Repair Ice Maker. |  |  |  |  |  |  |  |  |
| CSS #367 - CMI #17648 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 05.24.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 110.00 | 16 |  |  |  |  |  | $ 1,760.00 |
| 2 techs 8 hours each |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 109.02 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,869.02 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,869.02 |