Repair leaking unit heater in USARC Assembly Hall.

Proposal to:

Found leak at dielectric union and auto air bleeder, replaced all. The water leak dripped down to the bottom insulation, replaced that as well.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY054 |  |  |  |  |  |  |  |  |
| Repair leaking unit heater |  |  |  |  |  |  |  |  |
| CSS #90342 - CMI #19736 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.09.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 8 |  |  |  |  |  | $ 920.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 366.79 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 100.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,286.79 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 |  |  |  |  |  |  |  |  |

| Grand Total |  |  |  |  |  |  |  | $1,386.79 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |