| Additional Funding Request |  |
| --- | --- |
| NY059 | CSS # 16588 WO 2006 ASSET # |
| Description of Repairs | 1. Remove and replace urinal auto flush valve 2. Provide new valve assembly 3.Provide 1 year war4ranty |
| Diagnosis: Initial Work Order | one urinal keeps running. |
| Explanation of Additional Costs for Repairs | N/A |
| Additional Labor Cost to Perform Repairs | $ 600.00 (5MH @ $120.00/MH) |
| Additional Material Cost to Perform Repairs | $595.95 |
| Shipping | $9.95 |
| Total Cost of Repair | $1,206.00 |