| Additional Funding Request |  |
| --- | --- |
| NY059 | CSS # 19948 WO5471 ASSET #10349 |
| Description of Repairs | Removed old blower motor and installed new one. Rotation correct. |
| Diagnosis: Initial Work Order | Air Handler above classroom and instructor’s office has a bad fan motor.. |
| Explanation of Additional Costs for Repairs | N/A |
| Additional Labor Cost to Perform Repairs | $ 702.00 (6.5MH @$108.00/mh) |
| Additional Material Cost to Perform Repairs | $398.27 |
| Shipping/Tax | $88.02 |
| Total Cost of Repair | $1,188.29 |