Pipe leaking in maintenance bay and in classroom. Appears to be at a coupler. Unit heater in the shipping office does not work. The fan will not come on.

Proposal to:

Replace of Modine motor and fan.

| Funding Request |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NY059 |  |  |  |  |  |  |  |  |
| pipe leaking in maintenance / The fan will not come on |  |  |  |  |  |  |  |  |
| CSS #27196 - CMI #10672 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.26.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 3 |  |  |  |  |  | $ 240.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 467.65 |
| 1.3 Misc |  |  |  |  |  |  |  | $50.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 757.65 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 80.00 | 2 |  |  |  |  |  | $ 160.00 |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 917.65 |