Repair a Ceiling Unit heater in Tool Room. Unit is leaking and causing puddling on floor.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair a Ceiling Unit heater |  |  |  |  |  |  |  |  |
| CSS #27641- CMI #10713 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.04.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 124.00 | 8 |  |  |  |  |  | $ 992.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 272.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,264.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 124.00 | 3.5 |  |  |  |  |  | $ 434.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,698.00 |

Proposal to:

- System will be isolated and drained

- Remove section of leaking baseboard and replace with new to include unions

- Refill and leak check