‘Repair air compressor. Compressor is leaking oil.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair air compressor. |  |  |  |  |  |  |  |  |
| CSS #29181- CMI #12277 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.15.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 6 |  |  |  |  |  | $ 720.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 135.26 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 25.00 |
| 1.4 Misc |  |  |  |  |  |  |  | $ 169.25 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,049.51 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,049.51 |

Proposal to:

- Install seal kit in compressor.

- Service compressor

- Change oil and filter(s)

- Remove and reinstall compressor noise abatement surround.