Repair plumbing, toilets are flushing with hot water.

Hot water flushing into toilets:

Isolate and drain hot water lines

Remove pipe covering

Furnish and install new check valves in each line as required

Pressure test

Replace pipe covering that was removed

Put units back into service

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair plumbing |  |  |  |  |  |  |  |  |
| CSS #855 - CMI #18261 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.07.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 10 |  |  |  |  |  | $ 1,150.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 291.12 |
| 1.3 Misc material |  |  |  |  | $ - | $ - | $ - | $ 75.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,516.12 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,516.12 |