Repair water fountain. right side push bar is damaged, filter needs replacement.

Proposal to:

CMI Tech Mike, to remove and replace damaged side and change out filter.

https://www.kullysupply.com/elkay-56229c-upper-shroud

https://www.grainger.com/product/11U265?gucid=N:N:PS:Paid:GGL:CSM-2295:4P7A1P:20501231&gclid=CjwKCAjwmJeYBhAwEiwAXlg0AcZ2ecqXANvIRh8O7FY6IGDs9ny8MK6v-V8yiwUObRKb2dLBphwZfBoCWXcQAvD_BwE&gclsrc=aw.ds

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair water fountain |  |  |  |  |  |  |  |  |
| CSS #89464 - CMI #19198 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 08.24.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 3 |  |  |  |  |  | $ 240.00 |
| 1.2 Elkay Upper shroud |  |  |  |  | $ 99.90 | $ 99.90 | $ 19.98 | $ 119.88 |
| 1.2 Replacement cartridge |  |  |  |  | $ 92.19 | $ 92.19 | $ 18.44 | $ 110.63 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 50.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 520.51 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 incurred | $ 80.00 | 1 |  |  |  |  |  | $ 80.00 |

| Grand Total |  |  |  |  |  |  |  | $ 600.51 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |