Repair Ice Maker. It is not making ice.

Proposal to:

CMI Tech Mike found Ice maker dry.

Recommends replacing the dump valve and then cleaning and sanitizing the unit.

https://a.co/d/4YRpZkz

https://a.co/d/iOQULE0

https://www.restaurantsupply.com/manitowoc-9405813-1-gallon-ice-machine-sanitizer

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair Ice Maker |  |  |  |  |  |  |  |  |
| CSS #89778 - CMI #19229 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.16.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 4 |  |  |  |  |  | $ 320.00 |
| 1.2 Dump Valve |  |  |  | $ 73.33 | $ 5.13 | $ 78.46 | $ 15.69 | $ 94.15 |
| 1.2 Ice machine cleaner |  |  |  | $ 73.71 | $ 5.16 | $ 78.87 | $ 15.77 | $ 94.64 |
| 1.2 Ice machine sanitizer |  |  |  | $ 102.99 | $ 7.21 | $ 110.20 | $ 22.04 | $ 132.24 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 641.03 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred | $ 80.00 | 1 |  |  |  |  |  | $ 80.00 |

| Grand Total |  |  |  |  |  |  |  | $ 721.03 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |