Clean out waste drain line

The drain line from the mechanical room ties into the main bathroom drain
line. The line is draining slowly and needs to be blown out.

Proposal to:

- Clean waste drain line that goes through mechanical rm to kitchen area.

- Unclog and test entire waste line.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Clean out waste drain line |  |  |  |  |  |  |  |  |
| CSS #89884 - CMI #19350 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.18.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 6 |  |  |  |  |  | $ 510.00 |
| 1.2 Rental tool |  |  |  |  | $ - | $ - | $ - | $ 95.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 605.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred costs |  |  |  |  |  |  |  | $ 250.00 |
| Grand Total |  |  |  |  |  |  |  | $ 855.00 |