Repair bathroom air damper

The damper that controls the air venting in the bathroom does not open when
the fan comes on.

Proposal to:

- Removed failed duct press board

- Furnish and install duct for men’s room exhaust fan

- Add in (5) diffusers

- Furnish and install flex duct

- Put system into operation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair bathroom air damper |  |  |  |  |  |  |  |  |
| CSS #89939 - CMI #19362 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.26.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 12 |  |  |  |  |  | $ 1,380.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 689.44 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,069.44 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Diagnostic |  |  |  |  |  |  |  | $ 395.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,464.44 |