Repair section of piping / thermostat on hydronic heating loop in the tool room.

Proposal to:

- Repair bad actuator valve.

Note: Once approved work to take place in the Spring.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair section of piping / thermostat |  |  |  |  |  |  |  |  |
| CSS #91965 - CMI #21069 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.16.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 10 |  |  |  |  |  | $ 1,200.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 555.98 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,755.98 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 360.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,115.98 |