Repair drain line plumbing; pitch leads to clogging. (-Rodon was already on site to snake the drain and are aware of the materials needed to do the repairs if you want to use them.)

Proposal to:

- Replace section of drain line that is pitched negative, water is not draining.

** It has been taken down; it was hazardous for personnel**

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Fundng |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair drain line plumbing |  |  |  |  |  |  |  |  |
| CSS #92689 - CMI #21735 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 03.21.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 10 |  |  |  |  |  | $ 850.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 155.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,005.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 150.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,155.00 |