REPAIR: Vehicle Exhaust Fan hose on classroom side. Hose is torn.

Proposal to:

- Replace torn hose.

** CMI reported during the PM **

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| REPAIR: Vehicle Exhaust Fan hose |  |  |  |  |  |  |  |  |
| CSS #92690 - CMI #21736 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.12.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 3 |  |  |  |  |  | $ 255.00 |
| 1.2 Material |  |  |  | $ 1,253.00 | $ 87.71 | $ 1,340.71 | $ 268.14 | $ 1,608.85 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 100.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,963.85 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred | $ 85.00 | 1 |  |  |  |  |  | $ 85.00 |

| 2.2 CM -$250 |  |  |  |  |  |  |  | $ (250.00) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Grand Total |  |  |  |  |  |  |  | $ 1,798.85 |