Repair Thermostat
Thermostat on pillar by rear bay door doesn't operate heat properly. Heaters can be turned on manually, but they do not come on when the temperature goes below set point.

Proposal to:

Service to space heaters in truck bay. Found existing thermostat had failed.

Furnish and install (1) new thermostat with relay.

Start up and operational test.

Put units back into service.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair Thermostat |  |  |  |  |  |  |  |  |
| CSS #92946 - CMI #21790 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.24.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 8 |  |  |  |  |  | $ 960.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 210.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,170.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 360.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,530.00 |