Repair ceiling heating unit in welding classroom and adjacent bay.
Units run constantly even when no call for heat.

Proposal to:

Service to unit welding classroom

Found existing thermostat had failed due to wiring shorted

Repair shorted wiring and test for further failures

Furnish and install (1) new thermostat

Start up and operational test

Put units back into service

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair ceiling heating unit in welding |  |  |  |  |  |  |  |  |
| CSS #94112 - CMI #23326 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.21.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 9 |  |  |  |  |  | $ 1,080.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 299.66 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,379.66 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 360.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,739.66 |