| Additional Funding Request |  |
| --- | --- |
| NY060 | CSS #17124 WO3402 ASSET #10449 |
| Description of Repairs | Identify and replace motor 007 Trace hot water line, ensure valves open Check record lines throughout building |
| Diagnosis: Initial Work Order | Repair hot water system, no hot water |
| Explanation of Additional Costs for Repairs | N/A |
| Additional Labor Cost to Perform Repairs | $ 864.00 (8 MH @ $108.00/MH) |
| Additional Material Cost to Perform Repairs | $193.51 |
| Shipping | N/A |
| Total Cost of Repair | $1,14 |