Repair SIPR room AC.

Proposal to:

Remove bad control board in condensing unit & replace with new

Replace bad wires

Review amp draws

Cycle unit

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair SIPR room AC |  |  |  |  |  |  |  |  |
| CSS #1819 - CMI #19190 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.12.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 12 |  |  |  |  |  | $ 1,380.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 603.49 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,983.49 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,983.49 |