Boiler in OMS keeps shutting down with an error stating issues with the flue

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Boiler in OMS keeps shutting down |  |  |  |  |  |  |  |  |
| CSS #19953 - CMI # 6053 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.05.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 108.00 | 4 |  |  |  |  |  | $ 432.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 176.99 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 608.99 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 108.00 | 4 |  |  |  |  |  | $ 432.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,040.99 |

Proposal to supply all labor and material needed to complete the following

- Inspect Issue

- Confirm Flue Temperature Diff Lockout alarm

- Check sensor status

• 	Order new sensor

• Check signal

• Test operation