| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Seal on Geothermal piping near Pump #2 |  |  |  |  |  |  |  |  |
| CSS #20117 - CMI # 6045 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.18.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 108.00 | 11 |  |  |  |  |  | $ 1,188.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 100.93 |
| 1.3 Travel |  |  |  |  |  |  |  | $64.40 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,353.33 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,353.33 |

Seal on Geothermal piping near Pump #2 is leaking. Glycol is leaking from seal onto floor of mechanical room.

Proposal to supply all labor & materials needed to complete the following:

- Inspect Issues

- Locate Glycol leak

- Drain section of pipe

- Remove gasket and replace broken gasket

- Test operation