Two windows in the USARC are damaged. One is completely spider and the other cracked. Both windows need to be replaced, the damage to the windows was caused by the building settle US GOVT has one Replacement window.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Two windows in the USARC are damaged |  |  |  |  |  |  |  |  |
| CSS #21548 - CMI # 5674 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.15.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 6 |  |  |  |  |  | $ 600.00 |
| 2 men 3 hours each |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 800.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,400.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,400.00 |

Furnish and install –

2nd Floor / extension ladder required.

1” tempered low E insulated glass units

Tempered over laminated.

Size 28” X 60” (2)