During the Monthly Arms room security check with Fort McCoy, it was found that the Panic Button and Motion Sensor #2 is not communicating with Fort McCoy.

Proposal to provide a quotation to replace (1) Panic Button and (1) Motion Sensor in Schenectady, NY USARC Vault and test for proper operation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Panic Button and Motion Sensor #2 |  |  |  |  |  |  |  |  |
| CSS #23082 - CMI # 6853 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.06.2020 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 75.00 | 8 |  |  |  |  |  | $ 600.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 133.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 733.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 733.00 |