Repair sinks in Mess Kitchen and Handicap toilet in Men's room. Both sinks in scullery (dishwashing area) are leaking at faucet connection. Handicap toilet leaks at flush-o-meter.

Proposal to:

- Remove and replace 2 existing backflow preventers for the sinks in the Scullery dishwashing area. (currently leaking)

- Install a Sloan rebuild kit for the handicap toilet in the Men’s restroom.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair sinks in Mess Kitchen |  |  |  |  |  |  |  |  |
| CSS #28467 - CMI #11890 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.21.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 4.5 |  |  |  |  |  | $ 360.00 |
| 1.2 Backflow preventer x 2 |  |  |  | $ 515.49 | $ 36.08 | $ 551.57 | $ 110.31 | $ 661.89 |
| 1 Sloan rebuild kit |  |  |  |  |  |  |  |  |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,021.89 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 80.00 | 1 |  |  |  |  |  | $ 80.00 |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,101.89 |