Repair a leak on the Cold Water Return on the Geothermal piping. Glycol is leaking from a coupler near the pumps and has formed a puddle on the floor.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair a leak on the Cold |  |  |  |  |  |  |  |  |
| CSS #30781 - CMI #14922 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.15.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 114.00 | 5 |  |  |  |  |  | $ 575.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 146.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 721.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 721.00 |

Proposal to:

- Remove faulty glycol coupling and corresponding gasket

- Replace with new

- Test operation