Repair Heat pump number 2-29. No cooling on 2nd floor unit bullpen.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair Heat pump number 2-29 |  |  |  |  |  |  |  |  |
| CSS #31027 - CMI #14921 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.15.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 114.00 | 2 |  |  |  |  |  | $ 228.00 |
| 1.2Material |  |  |  |  | $ - | $ - | $ - | $ 84.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 312.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 312.00 |

Proposal to:

- Remove the current valve on the water side of the heat pump 2-29

- Replace with new Siemen’s valve

- Test operation