No AC in offices on 2nd Floor. Heat Pump # 2-30 will not go in cooling mode.

Proposal to:

- Remove the current valve on the water side of the heat pump 2-30 and 2-28

- Replace with 2 new Siemen’s valve

- Test operation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| No AC in offices on 2nd Floor |  |  |  |  |  |  |  |  |
| CSS #31077 - CMI #14920 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 03.12.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 114.00 | 4 |  |  |  |  |  | $ 456.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 168.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 624.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 624.00 |