Multiple lights are out throughout the building

Proposal to:

Remove and replace.

3 sets of LED Bulb,  A21,  Medium Screw (E26),  5, 000 K,  1600 lm,  17.7 W,  120V AC,  PK 2
https://yk8vw.app.goo.gl/FP6VT8WJ9L4CVNdu6

3 cases of Linear Fluorescent Bulb,  T8,  Medium Bi-Pin (G13),  Lumens 3, 000 lm,  4, 100 K Color Temperature. https://yk8vw.app.goo.gl/dmA3nFFDqbrxqAa3A

Plug-In CFL Bulb,  T4,  4-Pin (GX24Q-4),  Lumens 2690 lm,  Dimmable Yes,  Watts 42 W

https://yk8vw.app.goo.gl/s18bX1wHMFUBTBM98

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Multiple lights are out |  |  |  |  |  |  |  |  |
| CSS #31608 - CMI #14862 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.15.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 4 |  |  |  |  |  | $ 320.00 |
| 1.2 LED Bulbs 3 sets 2 pk |  |  |  | $ 32.97 | $ 2.31 | $ 35.28 | $ 7.06 | $ 42.33 |
| 1.2 3 cases flourescent bulb 108 total |  |  |  | $ 232.20 | $ 16.25 | $ 248.45 | $ 49.69 | $ 298.14 |
| 1.2 Plug in CFL Bulb x 10 |  |  |  | $ 195.60 | $ 13.69 | $ 209.29 | $ 41.86 | $ 251.15 |
| 1.4 Disposal fee |  |  |  |  |  |  |  | $ 100.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,011.63 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 80.00 | 1 |  |  |  |  |  | $ 80.00 |

| Grand Total |  |  |  |  |  |  |  | $ 1,091.63 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |