Air Compressor asset#10519 to replace the disconnect.

Work to be performed:

- Isolate and lock out tag out unit(s)

- Disassemble unit

- Remove bad contactor

- Install new contactor

- Install new disconnect breaker

- Reassemble unit

- Test run unit and check for proper operation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Air Compressor - replace the disconnect. |  |  |  |  |  |  |  |  |
| CSS #33657 - CMI #15209 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.15.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 149.00 | 3 |  |  |  |  |  | $ 447.00 |
| 1.2 Siemens contactor |  |  |  |  | $ - | $ - | $ - | $ 282.70 |
| 1.2 Siemens disconnect breaker |  |  |  |  | $ - | $ - | $ - | $ 937.10 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 186.50 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,853.30 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 149.00 | 2 |  |  |  |  |  | $ 298.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,151.30 |

- Perform all diagnostic checks